## data
S. No. | INC | Item Name | Notes | FIIG No. | App Key | AIN / non-AIN flag | Item Name Type | Status
1 | 00013 | BATTERY,STORAGE | A battery, composed of two or more cells forming a single unit, which may or may not be readily separable and which may be efficiently recharged by sending an electric current through the cells in a direction opposite that of the discharging current. The item may be furnished with integral charging facilities. For items which are composed of a single cell see CELL, BATTERY. | T139-A | AD | 1 | Approved Item Name | A
2 | 00152 | BATTERY ASSEMBLY | Two or more batteries on a common mounting or mounted on each other. They must be separable and each item must be capable of functioning in accordance with its given item name. | T139-B | BA | 1 | Approved Item Name | A
3 | 00525 | PLATE,BATTERY | An item which is rigid and flat and whose thickness is small in comparsion to both its length and width. It is specifically designed to be an electrode in a battery. | A509N0 |  | 1 | Approved Item Name | A
4 | 03736 | BATTERY,COUNTER ELECTROMOTIVE FORCE | An item composed of one or more cells used to produce a nearly constant voltage drop over a wide range of load current but which has no appreciable inherent current producing properties. | A23900 | A | 1 | Approved Item Name | A
5 | 07553 | ELECTRODE ASSEMBLY,BATTERY | The positive and negative plate groups and separators required for installation in one cell of a battery. May include cell cover, seal nuts, gaskets, and filler cap. | T139-B | BB | 1 | Approved Item Name | A
6 | 22445 | BATTERY SET | A grouping of items consisting of two or more separate batteries. It may or may not be inclosed in separate cases. | A23800 | A | 1 | Approved Item Name | A
7 | 41945 | CELL,BATTERY | A single electrolytic cell for producing electromotive force by electro chemical reaction. | T139-A | AA | 1 | Approved Item Name | A
8 | 53107 | MODIFICATION KIT,ELECTRIC POWER AND DISTRIBUTION EQUIPMENT | An item or collection of items employed to modify electrical power and distribution equipment. | A23800 | A | 1 | Approved Item Name | A
9 | 60427 | DUMMY BATTERY FILLER KIT | (All except USA) An item used to represent or having the appearance of a BATTERY FILLER KIT. It is not designed to contain internal functioning components. | A23900 | A | 1 | Approved Item Name | A
10 | 60433 | DUMMY STORAGE BATTERY | (All Except USA) | A23900 | A | 1 | Approved Item Name | A
11 | 60780 | NUT,BATTERY,ELECTRODE | INC 60780 Canceled Replaced By NUT (1), PLAIN KNURLED: INC 15886, FIIG A021A, Appl Key AU. | A23900 | A | 1 | Approved Item Name | C
12 | 68242 | TAIL SECTION,AIRCRAFT RECONNAISSANCE POD | A rear portion of POD ASSEMBLY, RECONNAISSANCE SYSTEM, AIRCRAFT that contains and protects the power supply facilities such as storage battery or the like. For items that don't include major components, see POD SECTION, AIRCRA FT. | A11500 | A | 1 | Approved Item Name | A
13 | 68397 | INSTALLATION KIT,ELECTRIC POWER AND DISTRIBUTION EQUIPMENT | A collection of small parts, necessary for the installation of power and distribution equipment. Does not apply to parts kits used for repair. | A23800 | A | 1 | Approved Item Name | A
14 | A0058 | CABLE ASSEMBLY, INTERVEHICLE, ELECTRICAL |  | A23900 | A | 2 | Non Approved Item Name | A
15 | A0266 | BOX |  | A23900 | A | 2 | Non Approved Item Name | A
16 | A0282 | PLATE |  | A23900 | A | 2 | Non Approved Item Name | A
17 | A1512 | TRAY |  | A23900 | A | 2 | Non Approved Item Name | A
18 | A2286 | COVER |  | A23900 | A | 2 | Non Approved Item Name | A
19 | A3625 | COUNTER,BATTERY |  | A23900 | A | 2 | Non Approved Item Name | A
20 | A3627 | HOUSING,BATTERY |  | A23900 | A | 2 | Non Approved Item Name | A